## Sheet1
Test Name | Measure | Outcome Domain | Subdomain
Computed Tomography | 3D reconstruction of tissue density via rotating X-ray source and detector | Imaging | CT
High-Resolution Micro-CT | Isotropic voxel imaging at 5–10 μm resolution for fine anatomical detail | Imaging | Micro-CT
Contrast-Enhanced CT | Soft-tissue compartment visualization using heavy-element (iodine) contrast agent | Imaging | Contrast imaging
Gated CT Acquisition | Physiologically triggered image capture synchronized to cardiac or respiratory cycles | Imaging | Gating
Co-registered CT–PET Imaging | Fusion of anatomical CT with PET functional data and attenuation correction | Imaging | Multimodal imaging
Anatomical ¹H MRI | 3D anatomical images based on proton density and relaxation properties | Imaging | MRI – Anatomical
MR Spectroscopy | Chemical composition of tissues via frequency spectra of metabolites (e.g., choline, lipids) | Imaging | MRI – Spectroscopy
Functional MRI (fMRI) | Hemodynamic responses (blood flow, oxygenation changes) to infer neural activation | Imaging | MRI – Functional
High-Resolution Preclinical MRI | Isotropic voxel imaging at ~100 μm resolution for detailed anatomical phenotyping | Imaging | MRI – High-resolution
Cryogenically-Enhanced MRI | Preclinical MRI with cryogenic RF coils yielding ~60 μm isotropic resolution | Imaging | MRI – Cryogenic detection
Ultra-High-Field MRI | MR imaging at ≥17.2 T field strength for enhanced sensitivity in small-animal neuroimaging | Imaging | MRI – Ultra-high-field
Bench-top Low-Field MRI | Lower-field MRI system for general anatomical phenotyping with reduced cost and maintenance | Imaging | MRI – Low-field
SPECT | 3D gamma-ray tomographic images via rotating detectors and multipinhole collimators | Imaging | SPECT
¹⁸F-FDG PET | Uptake of ¹⁸F-fluorodeoxyglucose indicating tissue glucose metabolism | Imaging | PET – Metabolic tracer
¹⁸F-FLT PET | Uptake of ¹⁸F-fluorothymidine indicating cellular proliferation | Imaging | PET – Proliferation tracer
Co-registered PET/CT | Fusion of PET functional data with CT anatomical images for localization and attenuation correction | Imaging | Multimodal imaging
Co-registered SPECT/CT | Fusion of SPECT functional data with CT anatomical images for localization and attenuation correction | Imaging | Multimodal imaging
Bioluminescence Imaging | Photon emission from luciferase–luciferin reaction in vivo | Imaging | Optical – Bioluminescence
Fluorescence Imaging | Emission of fluorescence from external dyes or fluorescent proteins upon excitation | Imaging | Optical – Fluorescence
Near-Infrared Fluorescence Imaging | Fluorescent emission in the NIR spectrum for deeper tissue penetration and reduced autofluorescence | Imaging | Optical – NIR Fluorescence
Fluorescence Resonance Energy Transfer (FRET) Imaging | Dynamic measurement of energy transfer between donor and acceptor fluorophores to report molecular events | Imaging | Optical – FRET
Fluorescence Lifetime Imaging Microscopy (FLIM) | Measurement of the decay time of fluorescence emission to map molecular environment and interactions | Imaging | Optical – FLIM
Intravital Microscopy | High-resolution, real-time imaging of single cells or microstructures in living animals | Imaging | Optical – Intravital
High-Throughput Image-Based Drug Screening | Automated fluorescence assay platforms for dynamic, multiplexed readouts in vivo | Imaging | Optical – High-Throughput Screening
High-Frequency Ultrasound | Real-time 3D anatomical/functional/hemodynamic imaging via 20–50 MHz sound waves reflected from tissues | Imaging | Ultrasound
Photoacoustic Computed Tomography | 3D anatomical/functional/molecular imaging from ultrasonic waves generated by light absorption | Imaging | Photoacoustic tomography